## Slide 1: FAULTY
RADIOGRAPHS
Dr. B. MRUDULA
READER
DEPT OF ORAL MEDICINE & RADIOLOGY

## Slide 2
Good quality radiographs should have:
Image with optimum density & contrast.
Image with minimum distortion.
Image with sharp borders & maximum details.

## Slide 3: Various reasons for faulty radiographs
1)Errors in operating the machine. 2)Errors in techniques.
3)Errors in processing & mounting.

## Slide 4
Kvp – speed, penetration power, energy of Xray photons .
mA – amount , intensity of current .
S - time of current flow.

## Slide 5: Errors in operating the machine
Lighter radiographs (underexposed/ underdeveloped radiographs).
Exposure time less
< KVp
underdeveloped

## Slide 7
Darker films (overexposed /overdeveloped /high density)
Exposure time >.
Higher Kilovoltage peak. (burn out effect)
Over developed.

## Slide 9: Errors in technique
Improper manipulation /bending of film .

## Slide 10
Phalangioma.

## Slide 11
Cone cut/partial image.

## Slide 12
Apical ends cut off.

## Slide 13
Crown cut off

## Slide 14
Region of interest not shown

## Slide 15
Tipping/tilting of occlusal plane

## Slide 16
Dot artifact

## Slide 17
Blurring

## Slide 18
Image shape distortion.

## Slide 19
Tyre track/herring bone pattern

## Slide 20
Double image

## Slide 21
Size distortion/less vertical angulation/ elongation

## Slide 22
More vertical angulation shortening

## Slide 23
Improper horizontal angulation.

## Slide 24
Cervical burn out/adumbration:

## Slide 25
Ornamental artifact

## Slide 26
Foreign body/restorative material

## Slide 27: Errors in processing
Exposure of film in day light.

## Slide 28
Contaminated film with developer before processing/developer spots.

## Slide 29
Contaminated film with fixer before processing/fixer spots.

## Slide 30
Film dropped into developer

## Slide 31
Film dropped into fixer

## Slide 32
Standard dark room principle
Developer solution - left
Water - middle
Fixer solution - right

## Slide 33
Film incompletely immersed in developer solution /developer cut off

## Slide 34
Dust in developer solution

## Slide 35
Film incompletely immersed in fixer solution/fixer cut off

## Slide 36
Dust in fixer

## Slide 37
Use of expired film

## Slide 38
Improper washing of films

## Slide 39
Warping of film

## Slide 40
Improper position of hanger

## Slide 41
Scratches on film

## Slide 42
Writing on film

## Slide 43
Film fog light fog radiation fog chemical fog
deterioration of film

## Slide 45
Finger nail artifact - dark cresent shaped

## Slide 46
Improper drying

## Slide 47
Black streaks

## Slide 48
Smuge/finger prints
touched by fingers contaminated by developer/fluoride.

## Slide 49
Over lapped films

## Slide 50
Air bells

## Slide 51
Reticulation/orange peel appearance

## Slide 52
Static electricity/grass root/tree like/lightening marks

## Slide 53
Frilling
hot processing solution
Dark flow marks
vigorous agitation.
Crimping artifact
remove from film holder.

## Slide 54: Errors in OPG
1)Ghost image
is a radiopaque
artifact produced
when radiodense object is penetrated twice.

## Slide 55: 2)Lead apron artifact cone shaped artifact

## Slide 56
Thyroid collar

## Slide 57
shadow that obscures
3)Lips not closed
dark radiolucent anterior teeth.

## Slide 58: 4)Tongue not in contact with palate/palatoglossal air space

## Slide 59: 5)Frankfort plane upward
R L

## Slide 60: 6)Frankfort plane downwards

## Slide 61: 7)Teeth position anterior to focal trough

## Slide 62: 8)Teeth position posterior to focal trough

## Slide 63: 9)Midsagittal plane not centered
R L

## Slide 64: 10)Position of spine/spine shadow ghost

## Slide 65: 11)Blurring – due to patient movement
R

## Slide 66: Bibliography
1)Diagnostic imaging of jaws Langland & Langlais. 2)Oral radiology White & Pharoah .
3) Essentials of dental radiology Eric Whaites. 4)Manuel of dental & oral radiology john wright.
Fundamental of dental radiology Manson & Hing.
Radiology for dental professionals Stabulus Savage.
Radiogra phic imaging for dental auxillaries Miles
,Dis & Jensen.